Nosema bombi DNA extraction protocol

Isolatea spores from gut using Brown lab protocol

Use DNA extraction and precipitation protocol from Schwessinger and McDonald (2017) https://www.protocols.io/view/high-quality-dna-from-fungi-for-long-read-sequenci-k6qczdw?step=30 – gives hundreds to thousands ng of DNA

DNA Extraction
1. Grind spores with liquid nitrogen in a mortar with sand (1g of sand per 100mg of starting material)
2. In a falcon tube add lysis buffer (A+B+C+PVP10+PVP40 in 50ml ← protocol, or 0.08% Ringers Solution ← Brown lab methods) and RNAse A
3. Incubate at room temperature
4. Add 200uL Proteinase K. Incubate at room temperature
5. Cool on ice for 5 minutes
6. Add 2.8ml Kac 5M, incubate on ice for 5 minutes
7. Spin at 4*C and 5000g for 12 minutes
8. Transfer supernatant to 17 mL phenol-chlorophorm mix (P/C/I)
9. Spin at 4*C and 4000g for 10 minutes
10. Transfer supernatant to fresh falcon tube with 17ml P/C/I and mix by inversion
11. Spin at 4*C and 4000g for 10 minutes
12. Transfer supernatant to fresh falcon tube. If the solution remains milky, repeat P/C/I wash. If clear go to DNA precipitation. (should be about 15mL of supernatant)

DNA Precipitation
1. |Add 1.5ml NaAc and mix by inversion
2. Add 15ml RT isopropanol and mix by inversion
3. Incubate at room temp for 5-10 minutes
4. Spin at 4*C and 8000g for 30 minutes
5. Carefully pour off supernatant. DNA will form translucent to white pellet/film at the bottom of the tube
6. Wash pellet in 5mL 70% EtOH
7. Spin 3000-5000g for 3-5 minutes to stick pellet back to side of falcon tube
8. Pour off EtOH wash until about 0.5mL remaining. Gently dislodge pellet with 1mL pipette tip and pour pellet with remaining 70% EtOH into fresh eppendorf tube. If the DNA is not pure the pellet will break apart.
9. Spin in table top centrifuge for 5 mins at 13000g
10. Remove supernatant with pipette and wash with 1.5mL fresh 70% EtOH
11. Spin in table top centrifuge for 5 minutse at 13000g. Repeat wash steps
12. Pour off ethanol and remove any remaining with pipette.
13. Air dry pellet for 2-3 minutes